## Slide 1
Mediator-based POC RA test based on agglutination for ACPA detection on cards
Novio Catalpa’s Rheumatoid Arthritis Screening Assay
Fast, Affordable, Accessible
March, 2026
Notes: Today, I would like to introduce an innovation that can transform RA diagnostics—Novio Catalpa’s RA screening assay.

## Slide 2: Aim
Develop a rapid and cost-effective detection method for anti-citrullinated protein antibodies in rheumatoid arthritis patients
Anti-citrullinated protein antibodies (ACPA) are the most specific
and predictive serological biomarker in rheumatoid arthritis

## Slide 3: Antibody biomarker detection by red blood cell agglutination
Microtiter plates
Cards

## Slide 4: Diagnostic performance of first generation ACPA mediator (scFv mediator)
ELISA | # |  | Anti-CCP2 positive
RA Cohort 1 | 103 |  | 67%
PsA Cohort 1 | 77 |  | 4%
RA Cohort 2 | 101 |  | 63%
Agglutination | # |  | Score 2+3+4
RA Cohort 1 | 103 |  | 61%
PsA Cohort 1 | 77 |  | 21%
RA Cohort 2 | 101 |  | 60%
Kruis et al. Rheumatol Adv Pract. 2025, 9:rkaf010
RA: Rheumatoid arthritis
PsA: Psoriatic arthritis

## Slide 5: 2nd generation (nanobody-based) ACPA agglutination mediator
Nanobody vs single-chain FV (scFv): Lacks tendency for dimerization
Production easier, faster and cheaper
Higher stability
Higher sensitivity

## Slide 6: ACPA-dependent agglutination on cards (nanobody-based mediator)

## Slide 7: Nanobody-based mediator works faster than single-chain mediator

## Slide 8: Nanobody-based mediator is functional after drying on cards
Dried mediator

## Slide 9: Nanobody-based agglutination allows low-titered anti-CCP2 detection

## Slide 10: AI image analysis in development

## Slide 11: Conclusions
ACPA detection by hemagglutination is simple, fast, has visual readout
and does not require sophisticated equipment.
The sensitivity of the ACPA-dependent hemagglutination is similar to
that of the golden standard CCP2 ELISA.
The nanobody-based mediator has several advantages compared to the
single-chain Fv-based mediator:
  Lacks tendency for dimerization
  Easier, faster and cheaper production
  Higher stability